- 0 OBJECTIVE

  - To describe the procedure for the operation of a bacteriological Incubator

- 0 SCOPE

2.1 This procedure is applicable for the operation of a bacteriological Incubator, located in the R&D lab at Oncosimis Biotech Pvt Ltd., Plot no 3, IDA Uppal, Genpact Rd, Habsiguda, Hyderabad.

- REFERENCE

- NIL

- MATERIAL & SAFETY EQUIPMENT

Materials

- NIL

Equipment

- Name: Bacteriological Incubator.

- Make: Labtech

- Number

- RESPONSIBILITY

- Research Associate:

Shall operate the bacteriological incubator as per the procedure

- Senior Research Associate:

Ensures that the bacteriological incubator is operated as per the procedure

- R & D Head:

Ensures that the SOP is being followed as per written instructions

- PROCEDURE

6.1 Ensure that the incubator is properly connected to the power supply

6.2 Switch 'ON' the main switch and then the cabinet switch

6.3 Set the required temperature to 37.0 °C by pressing the 'set knob and soft keys

6.4 Monitor the temperature daily as per the following procedure

6.5 Temperature shall be recorded which is displayed on the LCD of the controller of the incubator.

6.6 Observe the temperature shown on the digital display. The temperature should not differ by ± 2 °C

Cleaning procedure

6.7 Ensure that the power supply to the incubator is switched OFF

6.8 De-dust the incubator daily externally with a clean dry cloth

6.9 Once in a week remove adhered dust by wet mopping using soap solution. Afterward, wipe the surface with a clean dry cloth to remove the moisture

6.10 Mop the interior surfaces with a clean dry cloth, daily

- ABBREVIATIONS

7.1 RPM 	- Revolutions per minute

- ANNEXURES

NIL

- SUMMARY OF CHANGES

| Change control No | Reasons for revision |
| --- | --- |
| NA | NEW |

END OF DOCUMENT