- 0 OBJECTIVE

  - To describe the procedure for operation of Orbital Shaker incubator

- 0 SCOPE

2.1    This procedure is applicable for the operation of Orbital Shaker incubator located in R&D lab at Oncosimis Biotech Pvt. Ltd., Plot no 3, IDA Uppal, Genpact Rd, Habsiguda, Hyderabad. TS - 500007

- REFERENCE

- NIL

- MATERIAL & SAFETY EQUIPMENT

Materials

- NIL

Equipment

- Name: Orbital Shaker incubator.

- Make: New Brunswick Scientific

- Number:

- RESPONSIBILITY

- Research Associate:

Shall operate the Orbital Shaker incubator as per the procedure

- Senior Research Associate:

Ensures that Orbital Shaker incubator is operated as per the procedure

- R & D Head:

Ensures that the SOP is being followed as per written instructions

- PROCEDURE

  - Connect the power plug to the mains and turn ON the power

  - Turn ON the MAIN switch

  - Increase/ decrease the RPM by pressing ▲ or ▼ to set the desired RPM and leave the button

  - Increase/ decrease the TEMP ▲ or ▼ to set desired TEMP and leave the button

  - The temperature must not vary beyond ±2oC while the equipment is in operation

  - Turn OFF main switch when equipment not in use

- ABBREVIATIONS

  - RPM - Revolutions per minute

- ANNEXURES

8.1 Annexure – 1, Instrument Log Book

- SUMMARY OF CHANGES

| Change control No | Reasons for revision |
| --- | --- |
| NA | NEW |

END OF DOCUMENT