- 0 OBJECTIVE

  - To describe the procedure for the operation of precision balance

- 0 SCOPE

2.1 This procedure is applicable for the operation of Precision Balance, located in the R&D lab at Oncosimis Biotech Pvt limited Plot no 3, IDA Uppal, Genpact Rd, Habsiguda,

Hyderabad.

- REFERENCE

- NIL

- MATERIAL & SAFETY EQUIPMENT

Materials:

- Nil

Equipment:

- Name: Precision Balance.

- Make: WENSAR

- Number

- RESPONSIBILITY

- Research Associate :

Shall operate the Precision Balance as per the procedure.

- Senior Research Associate:

Ensures that the Precision Balance is operated as per the procedure.

- R & D Head :

Ensures that the SOI is being followed as per written instructions.

- PROCEDURE

  - Connect the power plug to the mains and turn ON the power

  - Press ON for starting the machine

  - Open the glass door, keep the butter paper on the weighing pan and close the door

  - Press the tare button and wait till the display shows a stable value of 0.0

  - Open the glass door and weigh the chemical on butter paper till a stable value is shown. Then take out the chemical

  - Press OFF after use

- ABBREVIATIONS

NIL

- ANNEXURES

NIL

9.0 SUMMARY OF CHANGES

| Change control No | Reasons for revision |
| --- | --- |
| NA | NEW |

END OF DOCUMENT