- 0 OBJECTIVE

  - To describe the procedure for operation of an Air Compressor

- 0 SCOPE

  - This procedure is applicable for the operation of an Air Compressor located in the R&D lab at Oncosimis Biotech Pvt. Ltd. Plot no 3, IDA Uppal, Genpact Rd, Habsiguda, Hyderabad. TS 500007

- REFERENCE

- NIL

- MATERIAL & SAFETY EQUIPMENT

Materials

- NIL

Equipment

- Name: 2HP Air Compressor.

- Make : Superking

- Number :

- RESPONSIBILITY

- Research Associate :

Shall operate Air Compressor as per the procedure

- Senior Research Associate :

Ensures that Air Compressor is operated as per the procedure

- R & D Head :

Ensures that the SOP is being followed as per written instructions

- PROCEDURE

6.1 Place the machine in a well-ventilated area, dust-free.

6.2 Pull the spring valve to remove the water condensate formed.

6.3 Turn on the Main switch

6.4 Close the outlet ball value till the internal pressure is built to capacity level

6.5 Connect the tubing to the external moisture trap

6.6 Open the valve

6.7 Automatically equipment turn on/off to attain desired tank capacity

6.8 Turn-off the valve

6.9 Remove the water condensed during the run

6.10 Turn off the machine by switching off the main plug

- ABBREVIATIONS

NIL

- ANNEXURES

NIL

9.0 SUMMARY OF CHANGES

| Change control No | Reasons for revision |
| --- | --- |
| NA | NEW |

END OF DOCUMENT